| Operations/Work/Job Activity covered by this assessment: Calibration |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Scope: Quality Department, Third Party Lab, Stores Pre requisites: Labels on instruments / machines indicating no and dates Work Instructions: # The Quality department will maintain and keep updated the list of measuring instruments namely QF/QA/02 # The list includes all measuring instruments being used by production and quality departments. It also includes pressure gauges. # The Quality department has to be review the list every month and check for instruments that will be due for calibration within next 30 days. # Calibration request to be sent to the vendors to schedule the recalibration on site. Normal Leadtime for carrying out calibration is 2 weeks. # Operators, Stores person need to be informed of the upcoming calibration schedule. # Operators, Stores person also to be instructed to stop using past their calibration date. # The overdue instruments are to be returned to stores department and issue of same to be resumed only after recalibration. |  |  |  |  |  |
| Assessor : |  | Signature: |  | Date: |  |
| Approved: |  | Signature: |  | Date: |  |